1 Product description

2 Related material

# 1 Product description

SFM3505-300 next generation compact flow sensor

Next generation compact flow sensor, 2.3% m.v. accuracy

The SFM3505-300 is part of our next-generation compact digital flow meter family, succeeding the proven SFM3119 and SFM3100. Featuring a completely re-engineered architecture, it delivers best-in-class performance with ultra-low noise and high accuracy across an extended flow range from –150 to +300 slm. The sensor is offered in two performance tiers, SFM3505-300 with standard (2.3% m.v.) and SFM3505-300-X with high (1.5% m.v.) accuracy.

Features:

- Built on Sensirion’s 5th-generation CMOSens® Technology

- Integration of sensor element and advanced signal processing on a single microchip

- Fast, stable, fully calibrated digital output via standard I²C interface

- Calibrated for air and oxygen

- Optimized flow channel design for reduced pressure drop

Benefits:

- Best-in-class performance with ultra-low noise and high accuracy

- Extended flow range from –150 to +300 slm

- Long-term reliability Precise measurements under varying conditions due to on-chip temperature compensation

- Minimal pressure drop across the dynamic range

Applications:

- mechanical ventilation

- anesthesia

- gas mixing systems

SFM3505-300-X next generation compact flow sensor, 1.5% m.v. accuracy

The SFM3505-300-X is part of our next-generation compact digital flow meter family, succeeding the proven SFM3119 and SFM3100. Featuring a completely re-engineered architecture, it delivers best-in-class performance with ultra-low noise and high accuracy across an extended flow range from –150 to +300 slm. The sensor is offered in two performance tiers, SFM3505-300 with standard (2.3% m.v.) and SFM3505-300-X with high (1.5% m.v.) accuracy.

Features:

- Built on Sensirion’s 5th-generation CMOSens® Technology

- Integration of sensor element and advanced signal processing on a single microchip

- Fast, stable, fully calibrated digital output via standard I²C interface

- Calibrated for air and oxygen

- Optimized flow channel design for reduced pressure drop

Benefits:

- Best-in-class performance with ultra-low noise and high accuracy

- Extended flow range from –150 to +300 slm

- Long-term reliability Precise measurements under varying conditions due to on-chip temperature compensation

- Minimal pressure drop across the dynamic range

Applications:

- mechanical ventilation

- anesthesia

- gas mixing systems

SEK-SFM3505 gas flow sensor evaluation kit SFM3505

Enables the evaluation of any version of the SFM3505 sensor.

Included:

- 1 cable compatible with the SFM3505 sensor and with Sensirion’s SensorBridge

- What you need additionally:

- Sensor to evaluate: SFM3505-300, SFM3505-300-X

- Sensor bridge

- Download Control Center

# 2 Related material

- Product launch package: SFM3505 - NPIs - PARTNERS @ Sensirion

- SFM3505-300 product page: SFM3505-300 - Next generation compact flow sensor, 2.3% m.v. accuracy

- SFM3505-300-X product page: SFM3505-300-X - Next generation compact flow sensor, 1.5% m.v. accuracy

- SEK-SFM3505 evaluation cable product page: https://sensirion.com/products/catalog/SEK-SFM3505

- Datasheet: https://sensirion.com/resource/datasheet/sfm3505

- Engineering guide: https://sensirion.com/resource/user_guide/sfm/engineering_guide

- Drivers for SFM3505: https://sensirion.com/resource/drivers_sfm3505

- Calibration certification gas flow sensors: https://sensirion.com/resource/certificate/gas_flow

- Application notes:

  - Handling instructions SFM3xxx: https://sensirion.com/resource/application_note/sfm3xxx/handling_instructions

  - Reference and flow conversions: https://sensirion.com/resource/application_note/sfm/reference_flow_conversions

  - Reference and flow conversions calculator: https://sensirion.com/resource/application_note/sfm/reference_flow_conversions_calculator

  - Selection guide gas flow sensors: https://sensirion.com/resource/application_note/sfm/selection-guide

- REACH and RoHS declaration: https://sensirion.com/resource/certificate/sfm/reach_rohs

- Gas flow sensors brochure: https://sensirion.com/resource/flyer/gas_flow_sensors

- Pictures SFM3505 (no Login required):

  - SFM3505 (front): https://brand.sensirion.com/share/v1DLdz2wJCmx2rXueoNn

  - SFM3505 (back): https://brand.sensirion.com/share/oAzW21b8uHicGm3aaP1a

  - SEK-SFM3505 evaluation cable: https://brand.sensirion.com/share/uePMnXPhP3DjyCvENCsK