1 品説明

2 マーケティング資料

# 品説明

高精度のCO₂測定と幅広い建築基準への対応

SCD43は、±（30ppm＋測定値の3％）という業界最高クラスの精度を実現し、ANSI/ASHRAE 62.1-2022 Draft Addendum d、California Title 24、RESET® grade B、WELL Building Standard™（WELL v2）など、最も厳格な建築基準にも対応しています。また、最大5,000ppmまでの拡張測定範囲とシングルショット動作モードも備えています。

特徴

- 光音響 NDIR センシング技術

- 10.1 × 10.1 × 6.5 mm3 の小型フットプリント

- 完全に密閉されたセンサーパッケージ

- SMD 半田付け可能、テープ＆リール包装

- オンチップ補正と自己校正

- 2.4 ～ 5.5 V の電源電圧範囲

- 複数の操作と低消費電力モード

- デジタルI²Cインターフェース

利点

- 高精度で選択的な光学式 CO₂ 測定

- 省スペースでの統合

- 10年以上の耐用期間

ほこり、浸水、機械的な力に対する堅牢性

- 高度に自動化されたコスト効率の高いオンボード組み立てが可能

- 長期ドリフト補正 (ASC) による校正/線形化されたセンサー出力

- 幅広いアプリケーションに対応

- 消費電力と性能の柔軟なトレードオフ

- シンプルなデザイン・インとインターフェース

用途

- 商業および住宅用空調システム

- 壁取り付けサーモスタット

- 空気清浄機

- 室内空気質 (IAQ) モニター

CO₂評価キットSCD43

SEK-SCD43は、SCD43を搭載した開発ボードで、さまざまな用途における迅速な評価を可能にします。

付属内容：

- SCD43 開発ボード x 1

- アダプタケーブル x 1

- ジャンパーワイヤーセット x 1

SEK-SensorBridge が別途必要

# マーケティング資料

- Product-Page SCD43: https://sensirion.com/products/catalog/SCD43

- Picture SCD43 (no login required): https://brand.sensirion.com/share/yMZ47cfF3eM2AZPARwZ3/assets/57283

- Product-Page SEK-SCD43 : SEK-SCD43 - Evaluation kit for SCD43 CO2 sensors

- Datasheet: https://sensirion.com/resource/datasheet/scd4x ; https://sensirion.com/products/catalog/SEK-SCD43

- Indoor air quality brochure: https://sensirion.com/resource/flyer/iaq/brochure

- Carbon dioxide product flyer: https://sensirion.com/resource/flyer-co2

Guides:

- Design-in Guide: https://sensirion.com/resource/user_guide/scd4x/design-in

- Handling Instruction: https://sensirion.com/resource/user_guide/scd4x/handling_instructions

- Testing Guide: https://sensirion.com/resource/user_guide/scd4x/testing_guideline

Software:

- Embedded Driver: https://sensirion.com/resource/software/embedded/scd4x

- Arduino Driver: https://sensirion.com/resource/software/arduino/scd4x

- Raspberry Pi driver: https://sensirion.com/resource/software/raspberry-pi/scd4x

- Makecode for micro:bit: https://sensirion.com/resource/software/makecode/microbit/scd4x

- Arduino snippets SCD4x: https://sensirion.com/resource/software/arduino/scd4x/snippets

- BLE gadget SCD4x: https://sensirion.com/resource/software/ble-gadget/scd4x

- Python driver SCD4x: https://sensirion.com/resource/software/python/scd4x

- SEK-ControlCenter (all devices): https://sensirion.com/resource/viewer_software/controlcenter

Drawings, application notes & certificates:

- REACH/ RoHS Certificate: https://sensirion.com/resource/certificate/scd/reach_rohs

- Step File: https://sensirion.com/resource/cad/scd4x ; https://sensirion.com/resource/cad/sek-scd41

- Low power operation SCD4x: https://sensirion.com/resource/application_note/scd4x/low_power_operation

- What type of NDIR sensors exist and how do they work? https://sensirion.com/resource/application_note/ndir-sensors-types

- Altium footprint SCD4x: https://sensirion.com/resource/software/altium_footprint/scd4x

- Calibration certification SCD4x : https://sensirion.com/resource/certificate/calibration-certification-scd4x