1 Product description

2 Related material

# Product description

High CO₂ accuracy with comprehensive building standard compatibility

The SCD43 delivers a best-in-class accuracy specification of +- (30pm + 3% m.v.) as well as compatibility with the most stringent building standards, including ANSI/ASHRAE 62.1-2022 Draft Addendum d, California Title 24, RESET® grade B and WELL Building Standard™ (WELL v2). Furthermore, SCD43 features an extended specified range up to 5'000 ppm and single shot operation mode.

Sensor features:

- Photoacoustic NDIR sensing technology

- Small footprint of 10.1 × 10.1 × 6.5 mm3

- Fully encapsulated sensor package

- SMD solderable, tape & reel packaging

- On-chip compensation and self-calibration

- Supply voltage range of 2.4–5.5 V

- Multiple operation and reduced power modes

- Digital I2C interface

Benefits:

- High accuracy, selective CO₂ measurement

- Space saving integration

- Long lifetime of >10 years; Robust against dust, water ingress and mechanical force

- Allows for highly automated, cost-effective on-board assembly

- Calibrated and linearized sensor output with long-term drift compensation (ASC)

- Operable in wide variety of applications

- Flexible trade-off between power-consumption and performance

- Straight-forward design-in and interfacing

Applications:

- Commercial or residential HVAC systems

- Wall-mounted thermostats

- Air purifiers

- Indoor air quality monitors

Sensor evaluation SEK-SCD43:

The SEK-SCD43, with a SCD43 integrated on a development board, enables fast testing of the SCD43 for different applications.

Includes:

- 1x SCD43 development board

- 1x adapter cable

- 1x jumper wire set

1x SEK-SensorBridge required

# Related material

- Product-Page SCD43: https://sensirion.com/products/catalog/SCD43

- Picture SCD43 (no login required): https://brand.sensirion.com/share/yMZ47cfF3eM2AZPARwZ3/assets/57283

- Product-Page SEK-SCD43 : SEK-SCD43 - Evaluation kit for SCD43 CO2 sensors

- Datasheet: https://sensirion.com/resource/datasheet/scd4x ; https://sensirion.com/products/catalog/SEK-SCD43

- Indoor air quality brochure: https://sensirion.com/resource/flyer/iaq/brochure

- Carbon dioxide product flyer: https://sensirion.com/resource/flyer-co2

Guides:

- Design-in Guide: https://sensirion.com/resource/user_guide/scd4x/design-in

- Handling Instruction: https://sensirion.com/resource/user_guide/scd4x/handling_instructions

- Testing Guide: https://sensirion.com/resource/user_guide/scd4x/testing_guideline

Software:

- Embedded Driver: https://sensirion.com/resource/software/embedded/scd4x

- Arduino Driver: https://sensirion.com/resource/software/arduino/scd4x

- Raspberry Pi driver: https://sensirion.com/resource/software/raspberry-pi/scd4x

- Makecode for micro:bit: https://sensirion.com/resource/software/makecode/microbit/scd4x

- Arduino snippets SCD4x: https://sensirion.com/resource/software/arduino/scd4x/snippets

- BLE gadget SCD4x: https://sensirion.com/resource/software/ble-gadget/scd4x

- Python driver SCD4x: https://sensirion.com/resource/software/python/scd4x

- SEK-ControlCenter (all devices): https://sensirion.com/resource/viewer_software/controlcenter

Drawings, application notes & certificates:

- REACH/ RoHS Certificate: https://sensirion.com/resource/certificate/scd/reach_rohs

- Step File: https://sensirion.com/resource/cad/scd4x ; https://sensirion.com/resource/cad/sek-scd41

- Low power operation SCD4x: https://sensirion.com/resource/application_note/scd4x/low_power_operation

- What type of NDIR sensors exist and how do they work? https://sensirion.com/resource/application_note/ndir-sensors-types

- Altium footprint SCD4x: https://sensirion.com/resource/software/altium_footprint/scd4x

- Calibration certification SCD4x : https://sensirion.com/resource/certificate/calibration-certification-scd4x